## Slide 2: Publication snapshot #2 Prof. Fernando López-Ríos Pathology-Targeted Therapies Laboratory, HM Hospitales, Madrid, Spain

## Slide 3: Disclaimer
Please note:
Views expressed within this presentation are the personal opinions of the author. They do not necessarily represent the views of the author’s academic institution or the rest of NTRK Connect group.
This content is supported by an Independent Educational Grant from Bayer.
Disclosures:
Prof. Fernando López-Ríos has received honoraria from the following: Astra Zeneca, Bayer, BMS, Lilly, MSD, Pfizer, Roche and Thermo Fisher.

## Slide 4: Identifying patients with NTRK fusion cancer
Solomon JP, et al. Ann. Oncol. 2019;30(Suppl_8):viii16-viii22

## Slide 5: Background
Two TRK inhibitors are currently approved for use in clinical practice: Larotrectinib approved on November 2018 and entrectinib on August 2019 in the US*
Approvals of both products are based on efficacy and a manageable safety profile in patients with TRK fusion-positive solid tumours2.
require accurate identification of patients with TRK fusion-positive tumours who could benefit from this targeted therapy
NTRK, neurotrophic tyrosine receptor kinase; TRK, tropomyosin receptor kinase
*: Larotrectinib is also approved in Canada, Brazil, European Union, Hong-Kong, Saudi Arabia and Israel; Entrectinib is also approved in Japan
1: Hsiao SJ, et al. J Mol Diagn. 2019;21(4):553-571
2: Refer to Snapshot #1 click here for more information or visit ntrkconnect.info
NTRK gene fusion
5’ upstream gene partner
3’ NTRK1, NTRK2 or NTRK3
Some identified NTRK gene fusions in human tumours1
CD74 --- NTRK1
LMNA --- NTRK1
MPRIP --- NTRK1
TPM3 --- NTRK1
SQSTM1 --- NTRK1
PPL --- NTRK1
AFAP1 --- NTRK2
PAN3 --- NTRK2
TRIM24 --- NTRK2
BTBD1 --- NTRK3
ETV6 --- NTRK3

## Slide 6: Objectives of the paper
To review the different NTRK testing approaches
  Immunohistochemistry
  Fluorescence in situ hybridization
  Reverse transcriptase polymerase chain reaction
  DNA-based next-generation sequencing
  RNA-based next generation sequencing
To propose testing algorithms
  Histology-based
  Genomic-based
NTRK, neurotrophic tyrosine receptor kinase

## Slide 7: Method for detection: Immunohistochemistry
USE: to detect TRK protein expression in histological tissue sections
MASC, Mammary analogue secretory carcinoma; NTRK, neurotrophic tyrosine receptor kinase; TRK, tropomyosin receptor kinase
Additional references:
https://ntrkconnect.info/ntrk-gene-fusions-trk-inhibitors-and-testing-approaches-blueprint/
https://oncologypro.esmo.org/oncology-in-practice/anti-cancer-agents-and-biological-therapy/targeting-ntrk-gene-fusions
Characteristics | pan-TRK (targets a conserved C-terminus region of all TRKA, TRKB and TRKC) Positive: cytoplasmic, 1% stained cells above background Sensitivity: 75%-96.7%, decreased for NTRK3 Specificity: 92%-100%, decreased for secretory breast carcinomas, MASC and sarcomas Staining pattern correlates with fusion partner: ETV6: cytoplasmic+nuclear / LMNA: cytoplasmic+perinuclear /TPM3: cytoplasmic+membranous
Advantages | Useful for screening as it is sensitive Low cost Can be used even in low-prevalence tumours Fast turnaround time
Challenges | Variable specificity according to tumour type Confirmation of fusion by a second assay is always recommended

## Slide 8: Method for detection: Fluorescence in situ hybridisation
USE: to detect large structure variants at the DNA level
DNA, deoxyribonucleic acid; NTRK, neurotrophic tyrosine receptor kinase; RNA, ribonucleic acid
Additional references:
https://ntrkconnect.info/ntrk-gene-fusions-trk-inhibitors-and-testing-approaches-blueprint/
https://oncologypro.esmo.org/oncology-in-practice/anti-cancer-agents-and-biological-therapy/targeting-ntrk-gene-fusions
Characteristics | Break-apart probes for the three NTRK genes
Advantages | Low input material (few unstained slides) Short turnaround time Does not require much tumour tissue or high tumour content for a single test Usually high specificity and sensitivity for DNA level rearrangements within a single given gene Can be performed on many types of biopsy specimens including formalin-fixed paraffin-embedded tissue sections
Challenges | Risk of false negatives, particularly for NTRK1 (intrachromosomal deletion results in short split lengths) Multiple tests are required as most commercial labs perform single gene, break-apart FISH DNA level rearrangements are not confirmed to be transcribed (RNA) or expressed (protein) fusions (e.g. may detect ‘passenger’ alterations) Requires that the target gene is known

## Slide 9: Method for detection: rT-PCR
FISH, Fluorescence in situ hybridisation; NTRK, neurotrophic tyrosine receptor kinase; RNA, ribonucleic acid; RT-PCR, Reverse transcription polymerase chain reaction
Additional references:
https://ntrkconnect.info/ntrk-gene-fusions-trk-inhibitors-and-testing-approaches-blueprint/
https://oncologypro.esmo.org/oncology-in-practice/anti-cancer-agents-and-biological-therapy/targeting-ntrk-gene-fusions
USE: To detect the presence of transcribed RNA
Characteristics | Qualitative and quantitative detection of a single oncogene
Advantages | High sensitivity and specificity for a known fusion transcript Relatively fast Low cost Like FISH can be a good choice to detect canonical fusions (for example, ETV6-NTRK3)
Challenges | RT-PCR uses RNA, which may not always be of sufficient quality due to its labile nature Limited utility due to the large number of fusion partners

## Slide 10: Method for detection: “DNA & RNA”-based NGS
DNA, deoxyribonucleic acid; FFPE, formalin-fixed paraffin-embedded; NGS, next-generation sequencing; RNA, ribonucleic acid
Additional references:
https://ntrkconnect.info/ntrk-gene-fusions-trk-inhibitors-and-testing-approaches-blueprint/
https://oncologypro.esmo.org/oncology-in-practice/anti-cancer-agents-and-biological-therapy/targeting-ntrk-gene-fusions
USE: To detect the presence of sequence variants/mutations at DNA/RNA level
Characteristics | Sequence hundreds and thousands of genes or whole genome in a short period of time
Advantages | Comprehensive interrogation of many genomic events Detects rearrangements in multiple genes and introns Can identify translocation partners without direct targeting of these partners Commercially available platforms that assess both DNA and RNA: Oncomine Comprehensive Assay (ThermoFisher) TruSight Oncology 500 Assay (Illumina)
Challenges | Longer turnaround time Reduced sensitivity of DNA-only NGS RNA failure rate when using FFPE tissue The amount of data produced places substantial demands on bioinformatics

## Slide 11: Testing algorithm: Histology-based algorithm
FISH, Fluorescence in situ hybridisation; IHC, immunohistochemistry; NTRK, neurotrophic tyrosine receptor kinase; RNA, ribonucleic acid
Histology-based triage
Sarcoma
Carcinoma, glioma, melanoma
Carcinoma
Sarcoma
Genomic-based triage
RNA-level fusion testing (panel)
FISH or RNA-level fusion testing
Pan-TRK IHC
Negative
Positive
NTRK fusion
positive
FISH or RNA-level fusion testing
High pretest probability that the tumour has NTRK fusion
(e.g. histologic features ofinfantile fibrosarcoma or secretory carcinoma
Low pretest probability that the tumour has NTRK fusion

## Slide 12: Testing algorithm: Genomic-based algorithm
NTRK, neurotrophic tyrosine receptor kinase
Genomic-based triage
Cancer gene
Panel testing
Cancer gene
Panel testing
Cancer gene
Panel testing
Driver negative and low tumour mutation burden
Driver negative & sporadic microsatellite instability-high
Driver negative
Screen for NTRK fusion
Screen for NTRK fusion
Screen for NTRK fusion
Lung carcinoma
Colorectal carcinoma
Other

## Slide 13: Conclusions - discussions
Conclusions:
Awareness of the advantages and disadvantages of the different NTRK testing methods and their availability can improve the diagnostic algorithm in this setting
Identifying patients with NTRK gene fusions positive cancer may require both:
  histology-based (specifically for enriching the patients with rare cancer types harbouring commonly NTRK gene fusions) and,
  genomic-based triaging (for patients with common cancer types harbouring a low probability of NTRK gene fusions)
Next developments:
Validation of the proposed testing algorithm with real-world data on feasibility and efficacy
Continue to improve comprehensive genomic profiling of tumours
NTRK, neurotrophic tyrosine receptor kinase

## Slide 14: REACH NTRK CONNECT VIA TWITTER, LINKEDIN, VIMEO & EMAIL OR VISIT THE GROUP’S WEBSITE http://www.ntrkconnect.info
Follow us on Twitter @ntrkconnectinfo
Follow the NTRK CONNECT group on LinkedIn
Email froukje.sosef @cor2ed.com
Watch us on the Vimeo Channel NTRK CONNECT